## Read this first
Company name: | Horizon Power
Electricity Compliance Manual Datasheet - Distribution Indicators 2017/18
IMPORTANT NOTICE FOR ELECTRICITY DISTRIBUTION LICENSEES
Licensees should refer to the Electricity Distribution Licence Performance Reporting Handbook for information on the definitions of electricity distribution indicators, listed in these datasheets.

## Network Reliability
Distributor: Horizon Power
Reporting Period: 2017/18
Network Reliability
Indicator No. | Reference | Description |  |  | Basis of Reporting |  | Comments
[5 empty] | Number | Percentage
NQR 1 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(5), item 5 | The number of premises of small use customers to which the supply of electricity has been interrupted for more than 12 hours continuously |  |  | REFER TABLE 1 (below)
NQR 2 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(5), item 5 | The number of premises of small use customers to which the supply of electricity has been interrupted more than the permitted number of times, as is defined in section 12(1) {of the NQ&R Code} |  |  | REFER TABLE 1 (below)
NQR 3 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(a), item 11(a) | For each discrete area, the average length of interruption of supply to customer premises expressed in minutes |  |  | 108.2445
NQR 4 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(b), item 11(b) | For each discrete area, the average number of interruptions of supply to customer premises |  |  | 2.6852
NQR 5 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(c), item 11(c) | For each discrete area, the average percentage of time that electricity has been supplied to customer premises |  |  | 99.9832
NQR 6 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(d), item 11(d) | For each discrete area, the average total length of all interruptions of supply to customer premises expressed in minutes |  |  | 292.6605
NQR 7 | SCONRRR | Overall SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 8 | SCONRRR | Distribution Network (Planned) SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 9 | SCONRRR | Distribution Network (Unplanned) SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 10 | SCONRRR | Normalised distribution network SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 11 | SCONRRR | Overall SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 12 | SCONRRR | Distribution Network (Planned) SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 13 | SCONRRR | Distribution Network (Unplanned) SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 14 | SCONRRR | Normalised distribution network SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 15 | SCONRRR | Overall CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 16 | SCONRRR | Distribution Network (Planned) CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 17 | SCONRRR | Distribution Network (Unplanned) CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQR 18 | SCONRRR | Normalised distribution network CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2 (below)
NQ&R - Network Reliability - Table 1
Description |  | Discrete Area |  | Total Network | Perth CBD and the urban areas combined | Other areas of the State | Comments
Interruptions for more than 12 hours continuously (Sch 1 section 5(a) NQ&R Code) |  | Number of premises interrupted |  | 742
|  | Number of interruptions |  | 157
More than the permitted number of interruptions (Sch 1 section 5(b) NQ&R Code) |  | Premises interrupted more than 9 times in a year |  |  | N/A
|  | Premises interrupted more than 16 times in a year |  |  |  | 79
SCONRRR - Network Reliability - Table 2
Description | Discrete Area |  | Total Network | CBD | Urban | Short Rural | Long Rural | Comments
SAIDI | Overall |  | 151.6374 | N/A | 62.2557 | 111.1669 | 1163.9513 | There was a recalculation of Urban Feeders based on the crieria in the handbook. A number of feeders changed classification from Short Rural to Urban and vice versa.
| Distribution Network (Planned) |  | 53.576 | N/A | 5.935 | 42.1672 | 392.589
| Distribution Network (Unplanned) |  | 98.0614 | N/A | 56.3207 | 68.9997 | 771.3623
| Normalised Distribution Network |  | 83.3464 | N/A | 56.0992 | 52.8918 | 749.498
SAIFI | Overall |  | 1.4979 | N/A | 1.2744 | 1.241 | 7.1021
| Distribution Network (Planned) |  | 0.30571 | N/A | 0.020033 | 0.25879 | 1.9146
| Distribution Network (Unplanned) |  | 1.1922 | N/A | 1.2544 | 0.98225 | 5.1875
| Normalised Distribution Network |  | 1.1096 | N/A | 1.2497 | 0.89016 | 5.1054
CAIDI | Overall |  | 101.2308 | N/A | 48.8497 | 89.5757 | 163.8886
| Distribution Network (Planned) |  | 175.2492 | N/A | 296.2666 | 162.9422 | 205.0529
| Distribution Network (Unplanned) |  | 82.2508 | N/A | 44.8984 | 70.2464 | 148.6959
| Normalised Distribution Network |  | 75.1142 | N/A | 44.8905 | 59.4181 | 146.8057

## Complaints
Complaints
Indicator No. | Reference | Description |  | Basis of Reporting |  |  | Comments
|  |  |  | Number | Percentage | Value ($)
NQR 19 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(6) | Total number of complaints received {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with} |  | 27
NQR 20 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(7) | Total number of complaints received from customers in each of the discrete areas {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with} |  | REFER TABLE 3 (below)
NQR 21 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(8) | Total amount spent in addressing complaints {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with} other than by way of payment under sections 18 and 19 {of the NQ&R Code} |  |  |  | 292616 | Note: The 2016/17 figure was overstated due to inaccuracies in work tracking and reporting practices. In 2017/18, there was a concerted effort to rectify these inaccuracies.
NQR 22 | SCONRRR | Total number of technical QoS complaints |  | 27
NQR 23 | SCONRRR | Total number of technical QoS complaints that are low supply voltage complaints |  | 13
NQR 24 | SCONRRR | Percentage of technical QoS complaints that are low supply voltage complaints |  |  | 48.15%
NQR 25 | SCONRRR | Total number of technical QoS complaints that are voltage dip complaints |  | 0
NQR 26 | SCONRRR | Percentage of technical QoS complaints that are voltage dip complaints
NQR 27 | SCONRRR | Total number of technical QoS complaints that are voltage swell complaints |  | 0
NQR 28 | SCONRRR | Percentage of technical QoS complaints that are voltage swell complaints
NQR 29 | SCONRRR | Total number of technical QoS complaints that are voltage spike complaints |  | 0
NQR 30 | SCONRRR | Percentage of technical QoS complaints that are voltage spike complaints
NQR 31 | SCONRRR | Total number of technical QoS complaints that are waveform distortion complaints |  | 0
NQR 32 | SCONRRR | Percentage of technical QoS complaints that are waveform distortion complaints
NQR 33 | SCONRRR | Total number of technical QoS complaints that are TV or radio interference complaints |  | 0
NQR 34 | SCONRRR | Percentage of technical QoS complaints that are TV or radio interference complaints
NQR 35 | SCONRRR | Total number of technical QoS complaints that are noise from appliances complaints |  | 0
NQR 36 | SCONRRR | Percentage of technical QoS complaints that are noise from appliances complaints
NQR 37 | SCONRRR | Total number of technical QoS complaints that are other complaints |  | 14
NQR 38 | SCONRRR | Percentage of technical QoS complaints that are other complaints |  |  | 51.85%
NQR 39 | SCONRRR | Breakdown of technical QoS complaints into the likely cause of problem that caused the complaint separated into:
|  | Network equipment faulty - Total Number |  | 14
|  | Network equipment faulty - Percentage |  |  | 51.85%
|  | Network interference by NSP equipment - Total Number |  | 0
Network interference by NSP equipment - Percentage
|  | Network interference by another customer - Total Number |  | 0
Network interference by another customer - Percentage
|  | Network limitation - Total Number |  | 3
|  | Network limitation - Percentage |  |  | 11.11%
|  | Customer internal problem - Total Number |  | 1
|  | Customer internal problem - Percentage |  |  | 3.704%
|  | No problem identified - Total Number |  | 0
No problem identified - Percentage
|  | Environmental - Total Number |  | 8
|  | Environmental - Percentage |  |  | 29.63%
|  | Other - Total Number |  | 1
|  | Other - Percentage |  |  | 3.704%
NQ&R - Complaints - Table 3
Discrete Area |  | Number of Complaints Received | Comments
Perth CBD
Urban areas other than the Perth CBD
All other areas of the State |  | 27

## Compensation Payments
Compensation Payments
Indicator No. | Reference | Description | Basis of Reporting |  |  | Comments
|  |  | Number | Percentage | Value ($)
NQR 40 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(9) | The number of payments made, and the total amount paid under section 18 of the NQ&R Code | 0 |  | 0
NQR 41 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(9) | The number of payments made, and the total amount paid under section 19 of the NQ&R Code | 10 |  | 800 | 1 payment for cyclone 9 payments for extended planned and unplanned outages

## Network & Asset Info
Network and Asset Information
Indicator No | Reference | Description |  |  | Basis of Reporting |  | Comments
[5 empty] | Number | Percentage
NQR 42 | SCONRRR | Number of metered supply points by feeder category (CBD, urban, short rural and long rural), reported against the categories of residential and non-residential customers and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 4A (below)
NQR 43 | SCONRRR | Number of unmetered supply points, by type of feeder (CBD, urban, long rural and short rural) |  |  | REFER TABLE 4B (below)
NQR 44 | SCONRRR | Energy delivered (GWh) by type of feeder (CBD, urban, long rural and short rural) reported against the categories of residential and non-residential customers and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 4C (below)
NQR 45 | SCONRRR | Line lengths by type of feeder (CBD, urban, long rural and short rural) reported against the categories of underground and overhead line categories and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 5A (below)
NQR 46 | SCONRRR | Number and total capacity of transformers, separated into sub-transmission and distribution |  |  | REFER TABLE 5B (below)
NQR 47 | SCONRRR | Total distribution losses (%) |  |  |  | N/A
NQR 48 | SCONRRR | Size of network service area (sq km) |  |  | N/A
NQR 49 | SCONRRR | Number of poles |  |  | 58665
NQR 50 | SCONRRR | Peak demand (MW) |  |  | N/A
Network & Asset Information - Table 4A
Number of Metered Supply Points |  | Total No. | By type of customer |  | By supply voltage |  |  | Comments
Feeder Category |  |  | Residential | Non-residential | ST | HV | LV
CBD |  | N/A | N/A | N/A | N/A | N/A | N/A
Urban |  | 6042 | N/A | N/A | N/A | N/A | N/A | as at 30 June 2018
Rural Short |  | 42225 | N/A | N/A | N/A | N/A | N/A | as at 30 June 2018
Rural Long |  | 2148 | N/A | N/A | N/A | N/A | N/A | as at 30 June 2018
Network & Asset Information - Table 4B
Number of Un-metered Supply Points | [5 empty] | Comments
|  | CBD | Urban | Rural Short | Rural Long
Total No. |  | N/A | 65 | 574 | 42 | As at 30 June 2018. Increase in UMS mainly due to NBN Cabinets
Network & Asset Information - Table 4C
Energy delivered (GWh) |  | By type of customer |  |  | By supply voltage |  |  | Comments
Feeder Category |  | Total GWh | Residential | Non-residential | ST | HV | LV
CBD |  | N/A | N/A | N/A | N/A | N/A | N/A
Urban |  | N/A | N/A | N/A | N/A | N/A | N/A
Rural Short |  | N/A | N/A | N/A | N/A | N/A | N/A
Rural Long |  | N/A | N/A | N/A | N/A | N/A | N/A
SCONRRR Business Descriptors - Table 5A
Line length (km) |  |  |  |  | By supply voltage |  |  | Comments
Feeder Category |  | Total km | Underground | Overhead | ST | HV | LV
CBD |  | N/A | N/A | N/A | N/A | N/A | N/A
Urban |  | 298.8305 | 293.4217 | 5.4088 | N/A | 88.2226 | 210.6079 | as at 30 June 2018
Rural Short |  | 4279.5789 | 2118.1184 | 2161.4605 | N/A | 2399.994 | 1879.5849 | as at 30 June 2018
Rural Long |  | 3370.4459 | 54.4911 | 3315.9547 | N/A | 3311.6849 | 58.7609 | as at 30 June 2018
SCONRRR Business Descriptors - Table 5B
Transfomer Type |  | Number of Transformers | Total capacity of Transformers (MVA) |  | Comments
Sub-transmission |  | N/A | N/A
Distribution |  | 4373 | 809 MVA |  | as at 30 June 2018