## Read this first
2022 Electricity Reporting Datasheet (NQR) - Distribution Indicators | Horizon Power
IMPORTANT NOTICE FOR ELECTRICITY DISTRIBUTION LICENSEES
Licensees should refer to the Electricity Distribution Licence Performance Reporting Handbook for information on the definitions of electricity distribution indicators listed in these Datasheets. The Handbook is available on the ERA website (see link below):
https://www.erawa.com.au/electricity/electricity-licensing/regulatory-guidelines
As per section 4 of the handbook, distributors should complete the ‘number’ column in each worksheet as follows: If the data is available: Enter the data If the activity did not occur: Enter '0' For example, if the distributor did not receive any technical QoS complaints the data for indicator NRR 1 should be ‘0’. If the activity is not applicable: Enter 'n/a'. Reporting an indicator as 'n/a' should only be done in circumstances where the indicator is not relevant to the licensee's operations. If the data is unavailable: Leave the data cell blank. Add a comment in the ‘comments’ cell explaining why the data cannot be provided. If the data shows a change of more than 10% compared to last year’s data, the distributor should include the likely reason(s) for the change in the ‘comments’ column.
Some indicators (shaded blue) require a value as at 30 June. Some indicators (shaded green) require a cumulative total value for the whole of the reporting year.
Some indicators require reporting to be on a per customer/premises basis whereas others are on a per incident basis. For example, indicator NQR 1 (Total number of premises of small use customers interrupted for more than 12 hours continuously) should be reported on a per customer/premises basis. This means that if a premises of a small use customer is interrupted for more than 12 hours continuously, and more than once during a reporting year, the premises should only be counted once. Indicator NQR22 (Total number of technical QoS complaints) should be reported during a reporting year, each complaint should be recorded separately.

## Network reliability
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Network Reliability
Indicator No. | Reference | Description |  |  | Basis of Reporting |  | Comments
[5 empty] | Number | Percentage
NQR 1 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(5), item 5 | The number of premises of small use customers to which the supply of electricity has been interrupted for more than 12 hours continuously |  |  | REFER TABLE 1 (below)
NQR 2 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(5), item 5 | The number of premises of small use customers to which the supply of electricity has been interrupted more than the permitted number of times, as is defined in section 12(1) {of the NQ&R Code} |  |  | REFER TABLE 1 (below)
NQR 3 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(a), item 11(a) | For each discrete area, the average length of interruption of supply to customer premises expressed in minutes |  |  | REFER TABLE 2 (below)
NQR 4 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(b), item 11(b) | For each discrete area, the average number of interruptions of supply to customer premises |  |  | REFER TABLE 2 (below)
NQR 5 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(c), item 11(c) | For each discrete area, the average percentage of time that electricity has been supplied to customer premises |  |  | REFER TABLE 2 (below)
NQR 6 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(d), item 11(d) | For each discrete area, the average total length of all interruptions of supply to customer premises expressed in minutes |  |  | REFER TABLE 2 (below)
FC 1 | SCONRRR | Overall SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 2 | SCONRRR | Distribution Network (Planned) SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 3 | SCONRRR | Distribution Network (Unplanned) SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 4 | SCONRRR | Normalised distribution network SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 5 | SCONRRR | Overall SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 6 | SCONRRR | Distribution Network (Planned) SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 7 | SCONRRR | Distribution Network (Unplanned) SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 8 | SCONRRR | Normalised distribution network SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 9 | SCONRRR | Overall CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 10 | SCONRRR | Distribution Network (Planned) CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 11 | SCONRRR | Distribution Network (Unplanned) CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 12 | SCONRRR | Normalised distribution network CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
Table 1: NQ&R interruptions longer than 12 hours and multiple interruptions
Reference |  | Description |  | Total Network | Perth CBD and the urban areas combined | Other areas of the State | Comments
Interruptions for more than 12 hours continuously (Sch 1 section 5(a) NQ&R Code) |  | Number of premises interrupted |  | 522 |  |  | Decrease from previous FY because previous FY had the Carnarvon floods.
|  | Number of interruptions |  | 104
More than the permitted number of interruptions (Sch 1 section 5(b) NQ&R Code) |  | Premises interrupted more than 9 times in a year |  |  | N/A
|  | Premises interrupted more than 16 times in a year |  |  |  | 199 | Increased mainly in Mount Magnet, Carnarvon and Esperance Rural
Table 2: NQ&R reliability data by area
Reference |  | Description |  | Perth CBD | Urban Areas | Other areas of the State | Comments
Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(a), item 11(a) |  | For each discrete area, the average length of interruption of supply to customer premises expressed in minutes |  | N/A | N/A | 106.98
Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(b), item 11(b) |  | For each discrete area, the average number of interruptions of supply to customer premises |  | N/A | N/A | 2.31
Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(c), item 11(c) |  | For each discrete area, the average percentage of time that electricity has been supplied to customer premises |  | N/A | N/A | 99.98
Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(d), item 11(d) |  | For each discrete area, the average total length of all interruptions of supply to customer premises expressed in minutes |  | N/A | N/A | 246
Table 3: Feeder category reliability
Description | Measure |  | Total Network | CBD | Urban | Short Rural | Long Rural | Comments
SAIDI (FC 1 - 4) | Overall |  | 233.58 |  | 53.3 | 220.38 | 1190.5
| Distribution Network (Planned) |  | 70.3 |  | 33.3 | 65.33 | 320.9495
| Distribution Network (Unplanned) |  | 163.3 |  | 19.9 | 155.046 | 869.58
| Normalised Distribution Network |  | 154.78 |  | 19.3 | 146.76 | 862.34
SAIFI (FC 5 - 8) | Overall |  | 2.48 |  | 0.55 | 2.49 | 9.237
| Distribution Network (Planned) |  | 0.33 |  | 0.12 | 0.32 | 1.322
| Distribution Network (Unplanned) |  | 2.15 |  | 0.43 | 2.167 | 7.914
| Normalised Distribution Network |  | 2.11 |  | 0.42 | 2.128 | 7.887
CAIDI (FC 9 - 12) | Overall |  | 94.2 |  | 97.3 | 88.455 | 128.89
| Distribution Network (Planned) |  | 212.64 |  | 276.6 | 201.56 | 242.596
| Distribution Network (Unplanned) |  | 75.96 |  | 46.6 | 71.53 | 109.87
| Normalised Distribution Network |  | 73.36 |  | 46.1 | 68.595 | 109.34

## Complaints
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Complaints
Indicator No. | Reference | Description |  | Basis of Reporting |  |  | Comments
|  |  |  | Number | Percentage | Value ($)
NQR 7 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(6) | Total number of complaints received {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with} |  | 44 |  |  | Significantly less over 12hr outages complaint claimants than previous FY due to Canarvon Floods in the previous FY
NQR 8 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(7) | Total number of complaints received from customers in each of the discrete areas {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with} |  | REFER TABLE 4 (below)
NQR 9 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(8) | Total amount spent in addressing complaints {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with} other than by way of payment under sections 18 and 19 {of the NQ&R Code} |  |  |  | 584994
NRR 1 | SCONRRR | Total number of technical QoS complaints |  | 15
NRR 2 | SCONRRR | Total number of technical QoS complaints that are low supply voltage complaints |  | 6
NRR 3 | SCONRRR | Percentage of technical QoS complaints that are low supply voltage complaints |  |  | 40%
NRR 4 | SCONRRR | Total number of technical QoS complaints that are voltage dip complaints |  | 0
NRR 5 | SCONRRR | Percentage of technical QoS complaints that are voltage dip complaints
NRR 6 | SCONRRR | Total number of technical QoS complaints that are voltage swell complaints |  | 0
NRR 7 | SCONRRR | Percentage of technical QoS complaints that are voltage swell complaints
NRR 8 | SCONRRR | Total number of technical QoS complaints that are voltage spike complaints |  | 0
NRR 9 | SCONRRR | Percentage of technical QoS complaints that are voltage spike complaints
NRR 10 | SCONRRR | Total number of technical QoS complaints that are waveform distortion complaints |  | 0
NRR 11 | SCONRRR | Percentage of technical QoS complaints that are waveform distortion complaints
NRR 12 | SCONRRR | Total number of technical QoS complaints that are TV or radio interference complaints |  | 0
NRR 13 | SCONRRR | Percentage of technical QoS complaints that are TV or radio interference complaints
NRR 14 | SCONRRR | Total number of technical QoS complaints that are noise from appliances complaints |  | 0
NRR 15 | SCONRRR | Percentage of technical QoS complaints that are noise from appliances complaints
NRR 16 | SCONRRR | Total number of technical QoS complaints that are other complaints |  | 9 |  |  | 6xHigh Volts 3xVoltage Fluctuations
NRR 17 | SCONRRR | Percentage of technical QoS complaints that are other complaints |  |  | 60%
NRR 18 | SCONRRR | Breakdown of technical QoS complaints into the likely cause of problem that caused the complaint separated into:
|  | Network equipment faulty - Total Number |  | 5
|  | Network equipment faulty - Percentage |  |  | 33.33%
|  | Network interference by NSP equipment - Total Number |  | 0
Network interference by NSP equipment - Percentage
|  | Network interference by another customer - Total Number |  | 0
Network interference by another customer - Percentage
|  | Network limitation - Total Number |  | 3
|  | Network limitation - Percentage |  |  | 20%
|  | Customer internal problem - Total Number |  | 0
Customer internal problem - Percentage
|  | No problem identified - Total Number |  | 1
|  | No problem identified - Percentage |  |  | 6.667%
|  | Environmental - Total Number |  | 6 |  |  | 2xBats, 2xBirds 2xLightning
|  | Environmental - Percentage |  |  | 40%
|  | Other - Total Number |  | 0
Other - Percentage
Table 4: NQ&R complaints by area (NQR 8)
Discrete Area |  | Number of Complaints Received | Comments
Perth CBD |  | N/A
Urban areas other than the Perth CBD |  | N/A
All other areas of the State |  | 44 | Significantly less over 12hr outages complaint claimants than previous FY due to Canarvon Floods in the previous FY

## Compensation payments
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Table 5: Compensation payments
Indicator No. | Reference | Description | Basis of Reporting |  |  | Comments
|  |  | Number | Percentage | Value ($)
NQR 10 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(9) | The number of payments made, and the total amount paid under section 18 of the NQ&R Code | 4 |  | 80
NQR 11 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(9) | The number of payments made, and the total amount paid under section 19 of the NQ&R Code | 34 |  | 3720 | On 1 Jan 2022, The payment increased from $80 to $120

## Network & Asset Info
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Network and Asset Information
Indicator No | Reference | Description |  |  | Basis of Reporting |  | Comments
[5 empty] | Number | Percentage
NQR 12 | SCONRRR | Number of metered supply points by feeder category (CBD, urban, short rural and long rural), reported against the categories of residential and non-residential customers and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 5A (below)
NQR 13 | SCONRRR | Number of unmetered supply points, by type of feeder (CBD, urban, long rural and short rural) |  |  | REFER TABLE 5B (below)
NQR 14 | SCONRRR | Energy delivered (GWh) by type of feeder (CBD, urban, long rural and short rural) reported against the categories of residential and non-residential customers and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 5C (below)
NQR 15 | SCONRRR | Line lengths by type of feeder (CBD, urban, long rural and short rural) reported against the categories of underground and overhead line categories and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 6A (below)
NQR 16 | SCONRRR | Number and total capacity of transformers, separated into sub-transmission and distribution |  |  | REFER TABLE 6B (below)
NQR 17 | SCONRRR | Total distribution losses (%) |  |  |  | N/A
NQR 18 | SCONRRR | Size of network service area (sq km) |  |  | N/A
NQR 19 | SCONRRR | Number of poles |  |  | 56930 |  | Distribution + Transmission Poles
NQR 20 | SCONRRR | Peak demand (MW) |  |  | N/A
Table 5A: Metered supply points (NQR 12)
Number of Metered Supply Points |  | Total No. | By type of customer |  | By supply voltage |  |  | Comments
Feeder Category |  |  | Residential | Non-residential | ST | HV | LV
CBD |  | N/A | N/A | N/A | N/A | N/A | N/A
Urban |  | 8590 | N/A | N/A | N/A | N/A | 8590 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Rural Short |  | 41629 | N/A | N/A | N/A | N/A | 41629 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Rural Long |  | 2092 | N/A | N/A | N/A | N/A | 2092
Table 5B: Unmetered supply points (NQR 13)
Number of Un-metered Supply Points | [5 empty] | Comments
|  | CBD | Urban | Rural Short | Rural Long
Total No. |  | N/A | 94 | 579 | 43
Table 5C: Energy delivered (NQR 14)
Energy delivered (GWh) |  | By type of customer |  |  | By supply voltage |  |  | Comments
Feeder Category |  | Total GWh | Residential | Non-residential | ST | HV | LV
CBD |  | N/A | N/A | N/A | N/A | N/A | N/A
Urban |  | 140.3239 | 73.993 | 66.3309 | 0.75354 | 23.2432 | 116.3272 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Rural Short |  | 915.0999 | 230.8549 | 684.2449 | 104.668 | 255.7317 | 554.7002 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Rural Long |  | 13.5144 | 9.31 | 4.2044 | 0 | 0 | 13.5144
Table 6A: Feeder data by category (NQR 15)
Line length (km) |  |  |  |  | By supply voltage |  |  | Comments
Feeder Category |  | Total km | Underground | Overhead | ST | HV | LV
CBD |  | N/A | N/A | N/A | N/A | N/A | N/A
Urban |  | 667.357 | 639.48 | 27.877 |  | 221.4102 | 445.9468 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Rural Short |  | 3956.7877 | 1883.3414 | 2073.4463 |  | 2288.3253 | 1668.4624 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Rural Long |  | 3326.4275 | 57.1117 | 3269.3158 |  | 3266.1073 | 60.3201 | Reduction in Long Rural due to conductor removed after installation of SPS (Stand-alone Power Systems)
Table 6B: Transformer data (NQR 16)
Transfomer Type |  | Number of Transformers | Total capacity of Transformers (MVA) |  | Comments
Sub-transmission |  | N/A | N/A
Distribution |  | 4281 | 801.55