## Read this first
2023 Electricity Reporting Datasheet (NQR) - Distribution Indicators
IMPORTANT NOTICE FOR ELECTRICITY DISTRIBUTION LICENSEES
Licensees should refer to the Electricity Distribution Licence Performance Reporting Handbook for information on the definitions of electricity distribution indicators listed in these Datasheets. The Handbook is available on the ERA website (see link below):
https://www.erawa.com.au/electricity/electricity-licensing/regulatory-guidelines
As per section 4 of the handbook, distributors should complete the ‘number’ column in each worksheet as follows: If the data is available: Enter the data If the activity did not occur: Enter '0' For example, if the distributor did not receive any technical QoS complaints the data for indicator NRR 1 should be ‘0’. If the activity is not applicable: Enter 'n/a'. Reporting an indicator as 'n/a' should only be done in circumstances where the indicator is not relevant to the licensee's operations. If the data is unavailable: Leave the data cell blank. Add a comment in the ‘comments’ cell explaining why the data cannot be provided. If the data shows a change of more than 10% compared to last year’s data, the distributor should include the likely reason(s) for the change in the ‘comments’ column.
Some indicators (shaded blue) require a value as at 30 June. Some indicators (shaded green) require a cumulative total value for the whole of the reporting year.
Some indicators require reporting to be on a per customer/premises basis whereas others are on a per incident basis. For example, indicator NQR 1 (Total number of premises of small use customers interrupted for more than 12 hours continuously) should be reported on a per customer/premises basis. This means that if a premises of a small use customer is interrupted for more than 12 hours continuously, and more than once during a reporting year, the premises should only be counted once. Indicator NQR22 (Total number of technical QoS complaints) should be reported during a reporting year, each complaint should be recorded separately.

## Network reliability
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Network Reliability
Indicator No. | Reference | Description |  |  | Basis of Reporting |  | Comments
[5 empty] | Number | Percentage
NQR 1 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(5), item 5 | The number of premises of small use customers to which the supply of electricity has been interrupted for more than 12 hours continuously |  |  | REFER TABLE 1 (below)
NQR 2 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(5), item 5 | The number of premises of small use customers to which the supply of electricity has been interrupted more than the permitted number of times, as is defined in section 12(1) {of the NQ&R Code} |  |  | REFER TABLE 1 (below)
NQR 3 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(a), item 11(a) | For each discrete area, the average length of interruption of supply to customer premises expressed in minutes |  |  | REFER TABLE 2 (below)
NQR 4 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(b), item 11(b) | For each discrete area, the average number of interruptions of supply to customer premises |  |  | REFER TABLE 2 (below)
NQR 5 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(c), item 11(c) | For each discrete area, the average percentage of time that electricity has been supplied to customer premises |  |  | REFER TABLE 2 (below)
NQR 6 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(d), item 11(d) | For each discrete area, the average total length of all interruptions of supply to customer premises expressed in minutes |  |  | REFER TABLE 2 (below)
FC 1 | ERA Electricity Distribution Licence Performance Reporting Handbook | Overall SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 2 | ERA Electricity Distribution Licence Performance Reporting Handbook | Distribution Network (Planned) SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 3 | ERA Electricity Distribution Licence Performance Reporting Handbook | Distribution Network (Unplanned) SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 4 | ERA Electricity Distribution Licence Performance Reporting Handbook | Normalised distribution network SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 5 | ERA Electricity Distribution Licence Performance Reporting Handbook | Overall SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 6 | ERA Electricity Distribution Licence Performance Reporting Handbook | Distribution Network (Planned) SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 7 | ERA Electricity Distribution Licence Performance Reporting Handbook | Distribution Network (Unplanned) SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 8 | ERA Electricity Distribution Licence Performance Reporting Handbook | Normalised distribution network SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 9 | ERA Electricity Distribution Licence Performance Reporting Handbook | Overall CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 10 | ERA Electricity Distribution Licence Performance Reporting Handbook | Distribution Network (Planned) CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 11 | ERA Electricity Distribution Licence Performance Reporting Handbook | Distribution Network (Unplanned) CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
FC 12 | ERA Electricity Distribution Licence Performance Reporting Handbook | Normalised distribution network CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 3 (below)
Table 1: NQ&R interruptions longer than 12 hours and multiple interruptions
Reference |  | Description |  | Total Network | Perth CBD and the urban areas combined | Other areas of the State | Comments
Interruptions for more than 12 hours continuously (Sch 1 section 5(a) NQ&R Code) |  | Number of premises interrupted |  | 1329 |  |  | Significant Event: Fitzroy Flooding following ex-TC Ellie in January 2023
|  | Number of interruptions |  | 111 |  |  | Significant Event: Fitzroy Flooding following ex-TC Ellie in January 2023
More than the permitted number of interruptions (Sch 1 section 5(b) NQ&R Code) |  | Premises interrupted more than 9 times in a year |  |  | N/A
|  | Premises interrupted more than 16 times in a year |  |  |  | 843 | Increase due to increased number of interruptions in Halls Creek and Esperance Rural
Table 2: NQ&R reliability data by area
Reference |  | Description |  | Perth CBD | Urban Areas | Other areas of the State | Stand-alone power systems | Comments
Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(a), item 11(a) |  | For each discrete area, the average length of interruption of supply to customer premises expressed in minutes |  | N/A | N/A | 97.77 | 230.76
Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(b), item 11(b) |  | For each discrete area, the average number of interruptions of supply to customer premises |  | N/A | N/A | 2.66 | 0.1
Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(c), item 11(c) |  | For each discrete area, the average percentage of time that electricity has been supplied to customer premises |  | N/A | N/A | 99.98 | 99.96
Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(d), item 11(d) |  | For each discrete area, the average total length of all interruptions of supply to customer premises expressed in minutes |  | N/A | N/A | 258 | 43.58
Table 3: Feeder category reliability
Description | Measure |  | Total Network | CBD | Urban | Short Rural | Long Rural | Comments
SAIDI (FC 1 - 4) | Overall |  | 279.7688 | N/A | 120.2689 | 260.7396 | 1278.5837 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Distribution Network (Planned) |  | 59.3735 | N/A | 12.403 | 53.3796 | 361.4354 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Distribution Network (Unplanned) |  | 220.3953 | N/A | 107.8659 | 207.3599 | 917.1483 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Normalised Distribution Network |  | 201.9057 | N/A | 107.3512 | 184.8376 | 911.6061 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
SAIFI (FC 5 - 8) | Overall |  | 3.3451 | N/A | 1.2795 | 3.262 | 12.9619 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Distribution Network (Planned) |  | 0.43019 | N/A | 0.074442 | 0.45317 | 1.3286 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Distribution Network (Unplanned) |  | 2.9149 | N/A | 1.2051 | 2.8088 | 11.6333 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Normalised Distribution Network |  | 2.8363 | N/A | 1.2009 | 2.714 | 11.5986 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
CAIDI (FC 9 - 12) | Overall |  | 83.6354 | N/A | 93.9947 | 79.933 | 98.6416 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Distribution Network (Planned) |  | 138.0175 | N/A | 166.6139 | 117.7908 | 272.0481 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Distribution Network (Unplanned) |  | 75.6096 | N/A | 89.5088 | 73.825 | 78.838 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Normalised Distribution Network |  | 71.1868 | N/A | 89.3947 | 68.1064 | 78.5964 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria

## Complaints
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Complaints
Indicator No. | Reference | Description |  | Basis of Reporting |  |  | Comments
|  |  |  | Number | Percentage | Value ($)
NQR 7 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(6) | Total number of complaints received {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with} |  | 85 |  |  | High number is due to Fitzroy Kimberley Floods
NQR 8 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(7) | Total number of complaints received from customers in each of the discrete areas {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with} |  | REFER TABLE 4 (below)
NQR 9 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(8) | Total amount spent in addressing complaints {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with} other than by way of payment under sections 18 and 19 {of the NQ&R Code} |  |  |  | 1396556
NRR 1 | ERA Electricity Distribution Licence Performance Reporting Handbook | Total number of technical QoS complaints |  | 14
NRR 2 | ERA Electricity Distribution Licence Performance Reporting Handbook | Total number of technical QoS complaints that are low supply voltage complaints |  | 5
NRR 3 | ERA Electricity Distribution Licence Performance Reporting Handbook | Percentage of technical QoS complaints that are low supply voltage complaints |  |  | 35.71%
NRR 4 | ERA Electricity Distribution Licence Performance Reporting Handbook | Total number of technical QoS complaints that are voltage dip complaints |  | 0
NRR 5 | ERA Electricity Distribution Licence Performance Reporting Handbook | Percentage of technical QoS complaints that are voltage dip complaints
NRR 6 | ERA Electricity Distribution Licence Performance Reporting Handbook | Total number of technical QoS complaints that are voltage swell complaints |  | 0
NRR 7 | ERA Electricity Distribution Licence Performance Reporting Handbook | Percentage of technical QoS complaints that are voltage swell complaints
NRR 8 | ERA Electricity Distribution Licence Performance Reporting Handbook | Total number of technical QoS complaints that are voltage spike complaints |  | 0
NRR 9 | ERA Electricity Distribution Licence Performance Reporting Handbook | Percentage of technical QoS complaints that are voltage spike complaints
NRR 10 | ERA Electricity Distribution Licence Performance Reporting Handbook | Total number of technical QoS complaints that are waveform distortion complaints |  | 0
NRR 11 | ERA Electricity Distribution Licence Performance Reporting Handbook | Percentage of technical QoS complaints that are waveform distortion complaints
NRR 12 | ERA Electricity Distribution Licence Performance Reporting Handbook | Total number of technical QoS complaints that are TV or radio interference complaints |  | 0
NRR 13 | ERA Electricity Distribution Licence Performance Reporting Handbook | Percentage of technical QoS complaints that are TV or radio interference complaints
NRR 14 | ERA Electricity Distribution Licence Performance Reporting Handbook | Total number of technical QoS complaints that are noise from appliances complaints |  | 0
NRR 15 | ERA Electricity Distribution Licence Performance Reporting Handbook | Percentage of technical QoS complaints that are noise from appliances complaints
NRR 16 | ERA Electricity Distribution Licence Performance Reporting Handbook | Total number of technical QoS complaints that are other complaints |  | 9
NRR 17 | ERA Electricity Distribution Licence Performance Reporting Handbook | Percentage of technical QoS complaints that are other complaints |  |  | 64.29%
NRR 18 | ERA Electricity Distribution Licence Performance Reporting Handbook | Breakdown of technical QoS complaints into the likely cause of problem that caused the complaint separated into:
|  | Network equipment faulty - Total Number |  | 7
|  | Network equipment faulty - Percentage |  |  | 50%
|  | Network interference by NSP equipment - Total Number |  | 0
Network interference by NSP equipment - Percentage
|  | Network interference by another customer - Total Number |  | 0
Network interference by another customer - Percentage
|  | Network limitation - Total Number |  | 1
|  | Network limitation - Percentage |  |  | 7.143%
|  | Customer internal problem - Total Number |  | 0
Customer internal problem - Percentage
|  | No problem identified - Total Number |  | 1
|  | No problem identified - Percentage |  |  | 7.143%
|  | Environmental - Total Number |  | 3 |  |  | 1xBat, 1xBird, 1xLightning
|  | Environmental - Percentage |  |  | 21.43%
|  | Other - Total Number |  | 2
|  | Other - Percentage |  |  | 14.29%
Table 4: NQ&R complaints by area (NQR 8)
Discrete Area |  | Number of Complaints Received | Comments
Perth CBD |  | N/A
Urban areas other than the Perth CBD |  | N/A
All other areas of the State |  | 85 | High number is due to Fitzroy Kimberley Floods
Stand-alone power systems |  | 0

## Compensation payments
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Table 5: Compensation payments
Indicator No. | Reference | Description | Basis of Reporting |  |  | Comments
|  |  | Number | Percentage | Value ($)
NQR 10 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(9) | The number of payments made, and the total amount paid under section 18 of the NQ&R Code | 1 |  | 20
NQR 11 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(9) | The number of payments made, and the total amount paid under section 19 of the NQ&R Code | 635 |  | 76200 | On 22 June 2023, Horizon Power proactively applied $120 over 12 hour payments (EOPS --Extended Outage Payment Scheme) to 555 accounts following the Minister’s approval for customers impacted by the 15-hour unplanned outage in Fitzroy Crossing on 24 November 2022.

## Network & Asset Info
Note: Indicators that require a value as at 30 June are shaded green. Indicators that require a cumulative total value for the whole of the reporting year are shaded blue. Do not enter data into cells that are shaded yellow, these indicators are automatically calculated. Do not enter data into cells that are shaded grey, they do not apply to that indicator.
Network and Asset Information
Indicator No | Reference | Description |  |  | Basis of Reporting |  | Comments
[5 empty] | Number | Percentage
NQR 12 | ERA Electricity Distribution Licence Performance Reporting Handbook | Number of metered supply points by feeder category (CBD, urban, short rural and long rural), reported against the categories of residential and non-residential customers and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 5A (below)
NQR 13 | ERA Electricity Distribution Licence Performance Reporting Handbook | Number of unmetered supply points, by type of feeder (CBD, urban, long rural and short rural) |  |  | REFER TABLE 5B (below)
NQR 14 | ERA Electricity Distribution Licence Performance Reporting Handbook | Energy delivered (GWh) by type of feeder (CBD, urban, long rural and short rural) reported against the categories of residential and non-residential customers and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 5C (below)
NQR 15 | ERA Electricity Distribution Licence Performance Reporting Handbook | Line lengths by type of feeder (CBD, urban, long rural and short rural) reported against the categories of underground and overhead line categories and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 6A (below)
NQR 16 | ERA Electricity Distribution Licence Performance Reporting Handbook | Number and total capacity of transformers, separated into sub-transmission and distribution |  |  | REFER TABLE 6B (below)
NQR 17 | ERA Electricity Distribution Licence Performance Reporting Handbook | Total distribution losses (%) |  |  |  | N/A
NQR 18 | ERA Electricity Distribution Licence Performance Reporting Handbook | Size of network service area (sq km) |  |  | N/A
NQR 19 | ERA Electricity Distribution Licence Performance Reporting Handbook | Number of poles |  |  | 56930 |  | 56204 Distribution + 726 Transmission Poles
NQR 20 | ERA Electricity Distribution Licence Performance Reporting Handbook | Peak demand (MW) |  |  | N/A
Table 5A: Metered supply points (NQR 12)
Number of Metered Supply Points |  | Total No. | By type of customer |  | By supply voltage |  |  | Comments
Feeder Category |  |  | Residential | Non-residential | ST | HV | LV
CBD |  | N/A | N/A | N/A | N/A | N/A | N/A
Urban |  | 8095 | N/A | N/A | N/A | N/A | N/A | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Rural Short |  | 42926 | N/A | N/A | N/A | N/A | N/A | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Rural Long | Rural Long | 2102 | N/A | N/A | N/A | N/A | N/A
Stand-alone power systems |  | 67 | N/A | N/A | N/A | N/A | N/A
Table 5B: Unmetered supply points (NQR 13)
Number of Un-metered Supply Points | [5 empty] | Comments
|  | CBD | Urban | Rural Short | Rural Long
Total No. |  | N/A | 77 | 549 | 30 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Table 5C: Energy delivered (NQR 14)
Energy delivered (GWh) |  | By type of customer |  |  | By supply voltage |  |  | Comments
Feeder Category |  | Total GWh | Residential | Non-residential | ST | HV | LV
CBD |  | N/A | N/A | N/A | N/A | N/A | N/A
Urban |  | 160.7059 | 74.4162 | 86.2897 | 0 | 22.4382 | 138.2677 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Rural Short |  | 811.9765 | 581.2778 | 230.6987 | 2.8651 | 245.6554 | 563.4561 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Rural Long |  | 14.641 | 4.4819 | 10.159 | 0 | 0 | 14.641
Table 6A: Feeder data by category (NQR 15)
Line length (km) |  |  |  |  | By supply voltage |  |  | Comments
Feeder Category |  | Total km | Underground | Overhead | ST | HV | LV
CBD |  | N/A | N/A | N/A | N/A | N/A | N/A
Urban |  | 510.8645 | 464.2742 | 46.5903 | N/A | 190.6515 | 320.2131 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Rural Short |  | 4319.6615 | 2103.1424 | 2216.5191 | N/A | 2489.8872 | 1829.7742 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
Rural Long |  | 3212.4641 | 60.0037 | 3152.4604 | N/A | 3149.5038 | 62.9603
Table 6B: Transformer data (NQR 16)
Transfomer Type |  | Number of Transformers | Total capacity of Transformers (MVA) |  | Comments
Sub-transmission |  | N/A | N/A
Distribution |  | 4384 | 844.16